Public Water Supply Lead and Copper Sample Site Selection Criteria for Community Systems

All public water supplies must complete a materials evaluation of their system to identify their pool of sample sites. Samples must be collected from Tier 1 sites unless there are not sufficient sites, then Tier 2 sites may be used. If there are not sufficient Tier 1 and 2 sites then Tier 3 sites may be used. Note: For any system with Lead Service lines, 50% of the samples must come from Lead Service Line sites and 50% of the samples must come from sites with lead pipes or copper pipes with lead solder.

Tier definitions are as follows:

- Tier 1 – includes single family structures that;

  - Contain copper pipes with lead solder which was installed between 1983 through 1988 or;

  - Contain lead pipes or;

  - Is served by a lead service line

  - Multi-family structures may be used as a Tier 1 site when multi-family structures comprise at least 20% of the structures served by the water system.

- Tier 2 – includes multi-family structures and buildings that;

  - Contain copper pipes with lead solder which was installed between 1983 through 1988 or;

  - Contain lead pipes or;

  - Is served by a lead service line

- Tier 3 - includes single family structures that contain copper pipes with lead solder which were installed prior to 1983

Tier Categories - Use the following to identify the Tier and category of each site:

Tier 1

- Single family – copper pipe with lead solder constructed between 1983 through 1988

- Single family – lead pipes

- Single family – lead service

- Multi-family – copper pipe with lead solder constructed between 1983 through 1988

- Multi-family – lead pipes

- Multi-family – lead service

Tier 2

- Building – copper pipe with lead solder constructed between 1983 through 1988

- Building – lead pipes

- Building – lead service

Tier 3

- Single family – copper pipe with lead solder constructed before 1983

If not enough Tier 1, 2 or 3 sites are available, representative sites may be chosen.

Indiana Public Water Supply Lead and Copper Samples Sites

Community:____________________________________________________

PWSID#: _____________________     Number of Samples Required: ___________

| NO. | Address | Tier Level | Type of Structure | Primary or Alt. |
| --- | --- | --- | --- | --- |
| 00 | Example: 0000 Any Street – Anytown, Indiana | 1 | SFR | Primary |
| 01 |  |  |  |  |
| 02 |  |  |  |  |
| 03 |  |  |  |  |
| 04 |  |  |  |  |
| 05 |  |  |  |  |
| 06 |  |  |  |  |
| 07 |  |  |  |  |
| 08 |  |  |  |  |
| 09 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |
| 13 |  |  |  |  |
| 14 |  |  |  |  |
| 15 |  |  |  |  |
| 16 |  |  |  |  |
| 17 |  |  |  |  |
| 18 |  |  |  |  |
| 19 |  |  |  |  |
| 20 |  |  |  |  |

Indiana Public Water Supply Lead and Copper Samples Sites

Community:____________________________________________________

PWSID#: _____________________     Number of Samples Required: ___________

| NO. | Address | Tier Level | Type of Structure | Primary or Alt. |
| --- | --- | --- | --- | --- |
| 21 |  |  |  |  |
| 22 |  |  |  |  |
| 23 |  |  |  |  |
| 24 |  |  |  |  |
| 25 |  |  |  |  |
| 26 |  |  |  |  |
| 27 |  |  |  |  |
| 28 |  |  |  |  |
| 29 |  |  |  |  |
| 30 |  |  |  |  |
| 31 |  |  |  |  |
| 32 |  |  |  |  |
| 33 |  |  |  |  |
| 34 |  |  |  |  |
| 35 |  |  |  |  |
| 36 |  |  |  |  |
| 37 |  |  |  |  |
| 38 |  |  |  |  |
| 39 |  |  |  |  |
| 40 |  |  |  |  |
| 41 |  |  |  |  |
| 42 |  |  |  |  |

# Text boxes

Key:	Type of Structure

BLDG – Building

MFR – Multi-family residence

SFR – Single family residence

Key:	Type of Structure

BLDG – Building

MFR – Multi-family residence

SFR – Single family residence