Preliminary Engineering Report

Wastewater Treatment Plant Design Summary

I.  GENERAL

1.  	Applicant's Name: *

2.  	Project Name: *

3.  	Location: *

4.  	Engineer (Consultant): *

5.  	NPDES Permit Number: *

A.  Date of final Permit Issuance: *

B.  Expiration Date: *

6.	Remarks: *

- Description of  Present Situation: *

- Description of Proposed Facilities: *

C.  Inspection During Construction to be provided by: *

7.  Estimated Project Cost: *

A.	Source of Funding (Revenue Bond, State Grant,SRF, Etc.): *

B.  Total Cost: *

8.  Certification Seal and Signature of Engineer: *

II.  DESIGN DATA: *

1.  	Current Population: *

2.  	Design Year and Population: *

3.  	Design Population Equivalent P.E.: *

4.  	Design Flow: *

A.  Domestic: *

B.  Industrial/Commercial: *

C.  Infiltration/Inflow: *

5.  	Average Design Peak Flow: *

6.  	Maximum Plant Flow Capacity: *

7.  	Design Waste Strength: *

A.  CBOD: *

B.  TSS: *

C.  NH3-N: *

D.  P: *

E.  Other:*

8.  	NPDES Permit Limitation on Effluent Quality: *

A.  CBOD: *

B.  TSS: *

C.  NH3-N: *

D.  P: *

E.  E-coli: *

F.  Chlorine Residual: *

G.  pH: *

H.  D.O.:  *

9.	Receiving Stream:  *

A.	Name:  *

B.	Tributary to:  *

C.	Stream Uses:  *

D.	7-day, 1-in-10 year low flow:  *

III.  TREATMENT UNITS

Plant Site Lift Station

1.	  Location:  *

2.   Type of pump:  *

3.	  Number of pumps:  *

4.	  Constant or variable speed:  *

5.	  Capacity of pumps:  *

6.	  RPM and TDH:  *

7.	  Volume of the wet well:  *

8.	  Detention time in the wet well:  *

9.	   A gate valve and a check valve in the discharge line:  *

10.  A gate valve on suction line:  *

11.  Ventilation:  *

12.  Standby power:  *

13.  Alarm:  *

14.  Breakwater tank:  *

15.  Bypass or overflow:  *

Flow Equalization

1.	  Number and size of units:  *

2.	  Method of flow diversion to unit:  *

3.	  Air and mixing provided:  *

4.	  Method and control of flow return:  *

5.	  Description of unit operation:  *

6.	  Lagoon sealing:  *

7.	  Method of sludge removal:  *

Flow Meters

1.	  Type:  *

2.	  Location:  *

3.	  Indicating, recording and totalizing:  *

Grit Chamber

1.	  Type of grit chamber:  *

2.	  Number of units:  *

3.   Size of unit:  *

4.	  Method of velocity (aeration) control:  *

5.	  Velocity (aeration) in the chamber:  *

6.	  Drain provided:  *

7.	Flow restrictions:  *

8.	Facilities to isolate:  *

Comminutors

1.	  Type:  *

2.	  Location:  *

3.	  Maximum capacity:  *

4.	  By-pass (over flow) bar screen:  *

Screens

1.	  Type:  *

2.	  Number and capacity:  *

3.	  Bar spacing and slope:  *

- Method of cleaning:

- Disposal of screenings:

Primary Settling

1.	  Type of clarifier:  *

2.	  Number and size of units:  *

3.	  Surface settling rate (gpd/sf)

a.   at the design flow:  *

b.   at the influent pumping rate:  *

c.   at the equalized flow rate:  *

4.	  Detention time:  (hrs):  *

5.	  Type of sludge removal mechanism:  *

6.	  Weir overflow rate:  *

7.	  Disposition of scum:  *

8.   Location of overflow weir:  *

9.	  Facilities to isolate:  *

Activated Sludge

1.	  Type of activated sludge process:  *

2.	  Number and size of units:  *

3.	  Detention time (hrs):  *

4.	  Organic loading (lb BOD/1000 cf):  *

5.	  Type of aeration equipment:  *

6.	  Type and size of blowers:  *

7.	  Air required (itemize, cfm):  *

8.	  Provisions of speed adjustment:  *

9.	   Air provided:  *

10.  Ventilation in the blower room:  *

11.  Number and capacity of return sludge pump:  *

12.  Method of return sludge rate control:  *

13.  Return sludge rate as % of design flow:  *

14.  Provisions for return rate metering:  *

15.  Location of return sludge discharge:  *

16.  Facilities to isolate units:  *

17.  Facilities for flow split control:  *

Oxidation Ditch

1.	  Number and size of units:  *

2.	  Detention time (hrs):  *

3.	  Organic loading (lb BOD /1000 cf):  *

4.	  Type and efficiency of aeration equipment (lb 0 /HP-hr):  *

5.	  Oxygen required:  *

6.	  Oxygen provided:  *

7.	  Flow velocity in ditch:  *

8.	  Number and capacity of return sludge pump:  *

9.	  Method of return sludge rate control:  *

- Return sludge rate as % of design flow:  *

11.  Provisions for return sludge metering:

12.  Location of return sludge discharge:  *

13.  Facilities to isolate units:  *

14.  Facilities for flow split control:  *

Trickling Filters

1.	  Number and size of units:  *

2.	  Type of media:  *

3.	  Hydraulic loading (gpm/cf):  *

4.	  Organic loading (lb BOD /1000 cf):  *

5.	  Recirculation:  *

6.	  Ventilation:  *

Rotating Biological Contactor

1.	  Size and number of units:  *

2.	  Type of media:  *

3.	  Detention time (min.):  *

4.	  Organic loading (lb BOD /1000 sf):  *

5.	  Hydraulic loading (gpd/sf):  *

6.	  Method of shaft drive:  *

7.	  Supplemental air:  *

8.	  Facilities to isolate:  *

- Facilities for flow split control:  *

Sequential Batch Reactors

1.	  Type of Activated Sludge Process:

2.	  Number and Size of Units

3.	Detention Time (Hours):

a.   Low water level:

b.   High water level:

c.    Total cycle:

4.	  Organic Loading (lb BOD/1000cf)

a.   At low water level

b.   At high water level

5.	  Type of aeration equipment:  *

6.	  Type and size of blowers:  *

7.	  Air required (itemize, cfm):  *

8.	   Provisions of speed adjustment:  *

9.	   Air provided:  *

10.  Ventilation in the blower room:  *

11.  Number and capacity of waste sludge pump:  *

12.  Decanter rated at average flow (GPM):

at peak flow (GPM):

13.  Facilities to isolate units:  *

14.  Facilities for flow split control: *

Lagoons

- Type of lagoons *

- Number and size of lagoons *

- Organic loading *

- Type of aeration equipment (if applicable): *

- Type and size of blowers (if applicable): *

6.   Air required (if applicable): *

7.	   Air provided (if applicable):  *

8.	   Controlled discharge facilities:  *

9.	   Maximum water level:  *

10.  Freeboard:  *

11.  Soil boring data and permeability date:  *

12.  Slope of embankment and top width:  *

13.  Fence:  *

14.  Detention time:  *

15.  Stream gage:  *

16.  Lagoon seal:  *

17.  Facilities for multi-level lagoon discharge:  *

- Scum control:  *

Secondary Clarifier

1.	  Type of clarifiers:  *

2.	  Number and size of units:  *

3.	  Surface settling rate (gpd/sf):  *

a.   at the design flow:  *

b.   at the influent pumping rate:  *

c.   at the equalized flow rate:  *

4.	 Detention time (hrs):  *

5.	  Type of sludge removal mechanism:  *

6.	  Weir overflow rate:  *

7.	  Disposal of scum:  *

8.	  Facilities for unit isolation:  *

9.	  Facilities for flow split control:  *

Rapid Sand Filtration

1.	  Number and size of filters:  *

2.	  Filtration rate:  *

a.   at peak flow rate:  *

b.   at average flow rate:  *

3.	  Type, depth, and gram size of filter media:  *

- Backwash rate:  *

- Air scour

6.	  Capability to chlorinate ahead of the filter:  *

7.	  Backwash pumps (number and capacity):  *

8.	  Method of rate control:  *

9.	  Source of capacity of backwash water:

10.  Holding capacity or dirty water tank:  *

11.  Facilities for unit isolation:  *

Micro-strainers

1.	  Number and size of strainers:  *

2.	  Screen material:  *

3.	  Filtration rate:  *

4.	  Backwash rate:  *

5.	  Number and capacity of backwash pumps:  *

6.	  Facilities for unit isolation:  *

7.	  Slime control provisions:  *

Two-day Lagoon

1.	  Number and size of lagoon cells:  *

2.	  Detention time (days):  *

3.	  Type of chemical:  *

4.	  Location of chemical injection:  *

5.	  Number and size of chemical feed pumps:  *

- Rate adjustment capabilities:  *

7.	  Capacity of chemical storage tank:  *

8.	  Capacity of spill storage space:  *

9.	  Expected daily use of chemical (dosage and solution):  *

10.  Lagoon seal:  *

11.  Parallel or series operation:  *

12.  Sludge removal facilities:  *

13.  Method of draining:  *

14.  Multi-level discharge:  *

15.  Scum control:  *

Post-aeration

1.	  Type of aeration:  *

2.	  Number of units:  *

3.	  Size of units:  *

4.	  Aeration provided:  *

5.	  Expected effluent DO:  *

Nitrification System

1.	  Type of nitrification system:  *

2.	  Ammonia loading:  *

3.	  Additional oxygen demand:  *

- Air supply system:  *

- Hydraulic detention time:  *

- Mean cell residence time (days): *

Phosphorus Removal Facilities

1.	  Type of chemical to be used:  *

2.	  Location of chemical injection:  *

3.	  Number and size of chemical feed pumps:  *

4.	  Size of chemical; storage tank:  *

5.	  Capacity of spill storage space:  *

6.	  Chemical dosage:  *

7.	  Daily chemical consumption expected:  *

8.	  Rapid mix tank:  *

9.	  Slow mixing equipment:  *

10.  Other facilities - describe:  *

Disinfection

1.	  Type of disinfectant used:  *

2.	  Size of contact tank:  *

3.	  Contact time:  *

4.	  Type of disinfectant feeders:  *

5.	  Capacity of the feeders:  *

6.	  Disinfectant dosage:  *

7.	  Scum control baffle:  *

8.	  Source of the disinfectant feed water:  *

9.	  Breakwater tank for the feed water:  *

10.  Bypass:  *

11.  Drain for tank:  *

12.  Ventilation in chlorine room:  *

13.  Safety equipment:  *

De-Chlorination

1.	  Chemical used:  *

2.	  Type of feeders:  *

3.	  Capacity of feeders:  *

4.	  Dosage:  *

5.	  Type of diffuser:  *

6.	  Diffuser location:  *

7.	  Equipment location:  *

8.	  Ventilation provided:  *

9.	  Safety equipment:  *

UV Disinfection

1.	  Type:  *

2.	  Location:  *

3.	  Size of channel:  *

- Contact time:  *

- Dosage:  *

- Bypass:  *

- Safety Equipment:  *

- Cleaning Equipment:  *

- Intensity Monitoring:  *

Sludge Thickening

1.	  Number and size of thickeners:  *

2.	  Type of sludge thickeners:  *

3.	  Hydraulic loading:  *

4.	  Solids loading:  *

5.	  Provisions to chlorinate:  *

Anaerobic Digesters

1.	  Number and size of units:  *

2.	  Total volume:  *

3.	  Organic loading:  *

4.	  Hydraulic detention time:  *

5.	  Volume per capita:  *

6.	  Type of mixing:  *

7.	  Heating:  internal or external

Aerobic Digesters

1.	  Number and size of units:  *

2.	  Detention time:  *

3.	  Organic loading:  *

4.	  Air supply:  *

5.	  Decanting method:  *

Wet-Oxidation

1.	  Number of units:  *

2.	  Type of heat treatment:  *

3.	  Temperature and pressure to be used:  *

4.	  Capacity of the unit:  *

5.	  Daily sludge production for heat treatment:  *

Sludge Drying Beds

1.	  Number and size of drying beds:  *

2.	  Filter area per capita:  *

3.	  Under-drain system:  *

4.	  Discharge location of filtrate:  *

5.	  Accessibility of dry sludge removal equipment:  *

Mechanical Dewatering

1.	  Type of dewatering units:  *

2.	  Number and size of dewatering units:  *

3.	  Capacity of dewatering units:  *

4.	  Daily solids production for dewatering:  *

5.	  Type of chemicals to be used:  *

Sludge Disposal

1.	 Ultimate disposal method of sludge:  *

2.   Expected solids content of sludge (by the principal method of disposal):*

3.	 Location of disposal site:  *

4.	 Ownership of the disposal site:  *

5.	Availability of sludge transport equipment:  *

## IV.  SEWER COLLECTION SYSTEM

Lift Stations

1.	  Location:  *

2.	  Type of pump:  *

3.	  Number of pumps:  *

4.	  Constant or variable speed:

5.	  Capacity of pumps:  *

6.	  RPM and TDH:  *

7.	  Volume of the wet well:  *

8.	  Detention time in the wet well:  *

9.	  A gate valve and a check valve in the discharge line:  *

10.  A gate valve on suction line:  *

11.  Ventilation:  *

12.  Standby power:  *

13.  Alarm:  *

14.  Breakwater tanks:  *

15.  Bypass or overflow:  *

16.  Type of force main:  *

17.  Diameter and length of force main:  *

Sewer

1.	   Type of sewer material:  *

2.	   Diameter and length of sewer (indicate length for each size):  *

3.	   Stream, highway, and railroad crossing:  *

4.	   Separation of combined sewer or new sewer:  *

5.	   Number of manholes:  *

6.	   Water main protection:  *

Individual Grinder Pumps

1.	   Location:  *

2.	   Number of pumps:  *

3.	   Capacity of pumps:  *

4.	   RPM and TDH:  *

5.	   Volume of the wet well:  *

6.	   A gate valve and a check valve in the discharge line:  *

7.	   Ventilation:  *

8.	   Alarm:  *

## V.  MISCELLANEOUS

A.	Laboratory equipment:  *

B.	Safety equipment:  *

C.	Plant site fence:  *

D.	Handrail for the tanks:  *

E.	Units, unit operation, and plant bypasses:  *

F.	Flood elevation (10, 25, or 100 year flood):  *

G.	Provisions to maintain the same degree of treatment during construction:  *

H.	Standby power:  *

I.	Site inspection:  *

J.	Statement in the specifications as to the protection against any adverse environmental effect (e.g., dust, noise, soil erosion) during construction:  *

K.	Hoists for removing heavy equipment:  *

L.	Adequate sampling facilities:  *

M.	Hydraulic Gradient:  *

N.	Septage receiving facilities

1.	Screening:  *

2.	Location of discharge: