Utility Relocation Plan Check List

Utility Coordinator 	 Phone

Company 	 Mobile

Design Representative 	 Consultant

Mobile Phone	 Email

Project Manager 		 Phone	Mobile Phone

Des. No.  	District

Work Type 	 RFC Date

Project Location: Road	 County

Project Description

| Utility Relocation Questions | Y | N | Note |
| --- | --- | --- | --- |
| 1. Are the relocation drawings on INDOT highway plans? |  |  |  |
| 2. Are you using the most current set of INDOT highway plans as reference for review including bridge plans, traffic signal plans and lighting plans? |  |  |  |
| 3. Are you using the most current set of utility relocation plans? |  |  |  |
| 4. Do the plans show a legend including all utility symbols and utility relocation items? |  |  |  |
| 5. Is there a note shown on plans that no open cuts are allowed on highways except during construction if approved? |  |  |  |
| 6. Is a note shown on the plans that the relocation permit only includes relocation work inside of state right-of-way? |  |  |  |
| 7. Are all facilities to remain and proposed facilities are not in conflict with highway improvement project? |  |  |  |
| 8. Affirm all proposed facilities are to be placed in compliance with the “INDOT Utility Accommodation Policy”? |  |  |  |
| Utility Relocation Questions | Y | N | Note |
| 9. Are all above ground facilities outside of the obstruction free zone and clear zone? |  |  |  |
| 10. Are all proposed facilities in conflict with existing and proposed facilities of any other utility? |  |  |  |
| 11. Are longitudinal runs of proposed facilities outside of limited access right-of-way unless a waiver is granted? |  |  |  |
| 12. Are service lines shown on the plans? |  |  |  |
| 13. All existing facilities are labeled with “existing facility to remain”, existing facility to be removed” or “existing facility to be abandoned”? |  |  |  |
| 14. Are all above ground proposed facilities labeled with “new facility”, what is being installed and the station and offset at all critical locations? |  |  |  |
| 15. Are all under ground facilities labeled with “new facility”, which is being installed (material and size), the method of installation (direct buried or encased), the station, offset and elevation at all critical locations? |  |  |  |
| 16. Above ground facilities placed in a ditch do not impede required drainage? |  |  |  |
| 17. Are facilities placed in contradiction with ADA standards? |  |  |  |
| 18. Affirm the proposed and existing location for over head lines are away from the construction site for pile driving? |  |  |  |
| 19. Is any facility in conflict with proposed drainage structures? |  |  |  |
| 20. Is any facility in conflict with signal structures? |  |  |  |
| 21. Is any facility in conflict with maintenance of traffic construction? |  |  |  |
| Utility Relocation Questions | Y | N | Note |
| 22. Is any facility in conflict with soil remediation? |  |  |  |
| 23. Is any facility in conflict with wetlands mitigation? |  |  |  |
| 24. Is any facility in conflict with known or suspected hazardous waste sites? |  |  |  |
| 25. Is a note shown for all abandoned pipes to remain (8 inch or great in diameter) under existing or proposed pavement area shall be filled with flowable fill. |  |  |  |
| 26. Is a note shown for all existing or abandoned pipes identified with asbestos? |  |  |  |
| 27. Guy wires do not cross walkways unless adequate clearance is provided. |  |  |  |
| 28. The top of the utility is not higher than 18 inches beneath the bottom of the INDOT pavement structure (12 inches for subgrade treatment)? |  |  |  |
| 29. The top of the underground utility is not higher then (48” for gas, electric) and (36” for water, sanitary, communications) underneath the INDOT drainage ditches? |  |  |  |
| 30. The underground utility will not be in the way of benching, pipe backfill requirements, channel clearing, rip rap placement and guard rail posts? |  |  |  |
| 31. Verified that there is sufficient vertical distance between the top of a manhole or vault and the cover to make adjustments to grade? |  |  |  |
| 32. The proposed utility relocation would not damage any noted “do not disturb” items? |  |  |  |

Recent Plan changes that may affect utilities: