Preliminary Plan Review

___Completed application

___Completion agreement signed

___Completed soils report

___Completed guidelines

___Plat plan

___North indicator

___TBM (location & elevation)

___Property boundaries (dimensions)

___Road listed

___Footprint of all structures (labeled)

___Driveway

___Scale

___Well radius or water line

___All easements, setbacks shown

___Neighboring wells within 100’

___Trees affecting construction

___Soil borings properly located with fixed reference point

___Locate all bodies of water or surface runoff topography

___Homeowner’s information (name, address, phone)

___Installer’s information (name, phone, date)

___System Type (with manufacturer)

___System size

___Septic Tank (size, manufacturer)

___Outlet filter with alarm (type, manufacturer)

___Pipe schedules

___Trench depths (min, max)

___Length of trenches

___Trench center to center distance

___System meets all minimum separation distances (including down slope dispersion)

___Distance from house to tank

___Distance from tank to dbox

___Ground elevation at the manifold and distal end of every trench

___Invert elevation of each trench bottom

___Less than ½% difference in GE from Manifold to Distal Ends of trenches

___Trenches numbered 1-?

Replacement Systems

___Location of existing field

___Probable reason for failure

___Properly abandoned old tank

Drains

___Verified drain outlet (size)

___Condition (active & free flowing)

___Ground elevation at each corner of the drain and the outlet

___Invert elevations at each corner of the drain and the outlet

___Drain size

___Drain depth at the shallowest point

___ Drain has proper fall throughout its length

___Drain depth at the outlet (in relation to the septic trenches)

___Geotextile fabric (if required)

___Drain backfilled with stone -upslope >2%

___Distance from drain to septic trenches

___Distance from field to outlet

___Drain corners labeled A-D

___Drain easement (notarized)

Flood Dose

___Dose Tank (size, manufacturer)

___Pump type (with curve)

___TDH (bottom of tank elevation, inlet of dbox elevation)

___Drain back

___Distance from septic tank to dose tank

___Distance from dose tank to dbox

___Size of delivery line

Sand Lined Systems

___Bed Elevation

___Type of Pipe

___System Sand Bed Area

___System Sand Bed Length

___System Pipe Row Length

___Venting Requirements

___Observation Port

___ Dosing requirements (3x or 6x day)

___ Section view with sand requirements

Comments