# Gravity & Flood Dosed System Design Sheet for Subsurface On-Site Sewage System

To be attached to site plan drawing along with Elevations Sheet.

### Project Name ________________________ Site Location ___________________________

(Circle the correct item on each line.)

Septic Tank: Size: 1000   1250   1500   1750	Manufacturer: 	 Carmel     Hartford     Rochester     RRM

Concrete ⁭	Polyethylene ⁭				 	     Other _______________________

1 compartment ⁭2 compartment ⁭	Filter w/alarm	PolyLoc     Zabel      Zoeller    Other________

Model ______________

Distribution Box:	Holes: ______		Manufacturer:	 Carmel     Hartford       Rochester   RRM

Concrete ⁭	Plastic ⁭				 Tuff-Tite   Other _______________________

Gravity Sewer Pipe &	   Size:  4”    6”		Type: (PVC) ASTM D 2665     ASTM F 891     ASTM D 3034

Effluent Sewer Pipe:				          (ABS) ASTM D 2661     ASTM D 2680   ASTM D 2751

Dose Tank Size: 1000 gal. Other___________	Manufacturer: 	 Carmel     Hartford     Rochester     RRM

Concrete ⁭	polyethylene ⁭				 	     Other _______________________

Force Main:	1”   1 1/4”   1 1/2”   2”   3”   4”		(PVC) ASTM D1785

Lateral Pipe: 	(PVC) ASTM D 2729	(Poly) ASTM F 810-85	  AASHTO M252-Type SP

Trench Material: Chamber   Gravel			Manufacturer: 	 Infiltrator   ADS BioDiffuser   Hancor

Crushed Limestone   Other_________________	     Other________________________

6” Drainage Pipe	required ⁭   not required ⁭

with fabric sock ⁭  without fabric sock  ⁭

Final grade

At least 12” 	     				            Geotextile fabric                                                                        of Cover

____in. min

2” stone					     ____in. max 						4” lateral pipe

CHAMBER

trench depth

from original

grade

6” stone

__________ in. depth to  perimeter drain 		_______________________________

Signature of Contractor